## Reference
ElementName | Element Description | Element Type | Size | Required | Allowed Values | Business Rule | NOTES
FacilityID | Unique Facility ID | string | 50 | Y
FacilityName | Facility Name | String | 50
OwnerType | Owner Type | string | 18 |  | Y | Federal Government - Non Military State Government - Non Military Tribal Governernment Local Government Commercial Private Military
FacilityType1 | Facility Type 1 | string | 41 |  | Y | [See Facility Types tab]
FacilityType2 | Facility Type 2 | string | 41 |  | Y | [See Facility Types tab]
FacilityAddress1 | Facility address | string | 50
FacilityAddress2 | Facility address 2 | string | 50
FacilityZipCode | Facility zipcode | string | 10
FacilityCounty | Facility county | string | 40
FacilityPhoneNumber | Facility phone number | string | 14
FacilityState | Facility state | string | 2 | Y | Y | [See States tab]
FacilityEPARegion | Facility EPA Region | integer | 2 |  | Y | 1 2 3 4 5 6 7 8 9 10
FacilityTribalSite | Is this facility located on federally recognized tribal lands | string | 3 |  | Y | Yes No
FacilityTribe | Tribe name | string | 50 |  |  |  | Only applicable if FacilityTribalSite = 'Yes'
FacilityLatitude | Facility Latitude | decimal | 9
FacilityLongitude | Facility Longitude | decimal | 9
FacilityCoordinateSource | Source of the facility coordinates | string | 20 |  | Y | Map Interpolation GPS PLSS Geocoded Address Other Unknown
FacilityOwnerLastName | Facility owner last name | string | 40
FacilityOwnerFirstName | Facility owner first name | string | 40
FacilityOwnerAddress1 | Facility owner address 1 | string | 40
FacilityOwnerAddress2 | Facility owner address 2 | string | 40
FacilityOwnerCity | Facility owner city | string | 40
FacilityOwnerCounty | Facility owner county | string | 40
FacilityOwnerZipCode | Facility owner zipcode | string | 10
FacilityOwnerState | Facility owner state | string | 40
FacilityOwnerPhoneNumber | Facility owner phone number | string | 14
FacilityOwnerEmail | Facility owner email | string | 40
FacilityOperatorLastName | Facility operator last name | string | 40
FacilityOperatorFirstName | Facility operator first name | string | 40
FacilityOperatorAddress1 | Facility operator address 1 | string | 40
FacilityOperatorAddress2 | Facility operator address 2 | string | 40
FacilityOperatorCity | Facility operator city | string | 40
FacilityOperatorCounty | Facility operator county | string | 40
FacilityOperatorZipCode | facility operator zipcode | string | 10
FacilityOperatorState | Facility operator state | string | 40
FacilityOperatorPhoneNumber | Facility operator phone number | string | 14
FacilityOperatorEmail | Facility operator email | string | 40
FinancialResponsibilityBondRatingTest | Bond Rating Test | string | 3 |  | Y | Yes No
FinancialResponsibilityCommercialInsurance | Commercial insurance | string | 3 |  | Y | Yes No
FinancialResponsibilityGuarantee | Guarantee | string | 3 |  | Y | Yes No
FinancialResponsibilityLetterOfCredit | Letter of Credit | string | 3 |  | Y | Yes No
FinancialResponsibilityLocalGovernmentFinancialTest | Local Government Financial Test | string | 3 |  | Y | Yes No
FinancialResponsibilityRiskRetentionGroup | Risk Retention Group | string | 3 |  | Y | Yes No
FinancialResponsibilitySelfInsuranceFinancialTest | Self-insurance (Financial Test) | string | 3 |  | Y | Yes No
FinancialResponsibilityStateFund | State Fund | string | 3 |  | Y | Yes No
FinancialResponsibilitySuretyBond | Surety Bond | string | 3 |  | Y | Yes No
FinancialResponsibilityTrustFund | Trust Fund | string | 3 |  | Y | Yes No
FinancialResponsibilityOtherMethod | Other method (describe) | string | 500
FinancialResponsibilityNotRequired | Does not have to meet financial responsibility requirements because 40 CFR part 280 Subpart H is not applicate to me (e.g., if you are a state or federal owner). | string
TankID | Unique Tank ID | string | 50 | Y
FederallyRegulated | Is this UST system covered by federal UST regulations | string | 7 |  | Y | Yes No Unknown
CompartmentID | If a compartmentalized tank, the unique compartment ID |  | 50
TankStatus | Tank Status | string | 28 | Y | Y | Currently in use Temporarily out of service Closed (removed from ground) Closed (in place) Abandoned
ManifoldedTanks | Considered manifolded tank or tanks that are interconnected and all underground | string | 3 |  | Y | Yes No
MultipleTanks | Is this UST system comprised of multiple tanks (I.e. hydrant system or combination of USTs & ASTs) | string | 7 |  | Y | Yes No Unknown
ClosureDate | Closure date | date
InstallationDate | installation date | date
CompartmentalizedUST | Is this UST compartmentalized | string | 7 |  | Y | Yes No Unknown
NumberofCompartments | Number of compartments | integer |  |  |  |  | NA if non-compartmentalized UST
TankSubstanceStored | Tank substance stored | string | 105 |  | Y | [See Substances tab] | NA if compartmentalized UST
CompartmentSubstanceStored | Compartment substance stored | string | 105 |  | Y | [See Substances tab] | NA if non-compartmentalized UST
TankCapacityGallons | Tank capacity (gallons) | integer | 8 |  |  |  | NA if compartmentalized UST
CompartmentCapacityGallons | Compartment capacity (gallons) | Integer | 8 |  |  |  | NA if non-compartmentalized UST
ExcavationLiner | Is this UST secondarily contained by an excavation liner | string | 7 |  | Y | Yes No Unknown
TankWallType | Tank wall type | string | 7 |  | Y | Single Double Triple Unknown Other
MaterialDescription | Tank material type | string | 54 |  | Y | Fiberglass Reinforced Plastic Asphalt Coated or Bare Steel Composite/Clad (Steel w/Fiberglass Reinforced Plastic) Concrete Epoxy Coated Steel Coated and Cathodically Protected Steel Cathodically Protected Steel (without coating) Jacketed Steel Other Unknown
TankRepaired | Has the Tank or Internal Tank Liner Been Repaired | string | 7 |  | Y | Yes No Unknown
TankRepairDate | Last tank or interal liner repair date | date
PipingMaterialDescription | Piping material description | string | 29 |  | Y | Steel Copper Fiberglass Reinforced Plastic Galvanized Steel Stainless Steel Flex Piping No Piping Unkown Other
PipingFlexConnector | Flex connector piping | string | 7 |  | Y | Yes No Unknown
PipingStyle | Piping style | string | 54 |  | Y | Suction Pressure Non-operational ( e.g., fill line, vent line, gravity) Unknown Other
PipingWallType | Piping wall type | string | 13 |  | Y | Single Walled Double Walled Other Unknown
PipingUDCForEveryDispenser | Does Every Dispenser Associated with this Tank have a UDC (under dispencer containment) | string | 7 |  | Y | Yes No Unknown
PipingRepaired | Has the piping been repaired | string | 7 |  | Y | Yes No Unknown
PipingRepairDate | Last piping repair date | date
TankCorrosionProtectionSacrificialAnode | Tank: sacrifical anode | string | 7 |  | Y | Yes No Unknown
TankCorrosionProtectionAnodesInstalledOrRetrofitted | If sacrifical anode was it intalled with tank or retrofitted to tank | string | 11 | Conditional | Y | Installed Retrofitted Unknown | Required if TankCorrosionProtectionSacrificialAnode = 'Yes'
TankCorrosionProtectionImpressedCurrent | Tank: Impressed current | string | 7 |  | Y | Yes No Unknown
TankCorrosionProtectionImpressedCurrentInstalledOrRetrofitted | If impressed current, was it installed with UST or retrofitted | string | 11 | Conditional | Y | Installed Retrofitted Unknown | Required if TankCorrosionProtectionImpressedCurrent = 'Yes'
TankCorrosionProtectionCathodicNotRequired | Tank: Cathodic protection not required | string | 7 |  | Y | Yes No Unknown
TankCorrosionProtectionInteriorLining | Interior lining | string | 7 |  | Y
TankCorrosionProtectionReason | Protection Reason | string | 20 |  | Y | Corrosion Protection Fuel Compatibility Unknown
TankCorrosionProtectionLinedPostinstallation | Lined post installation | string | 7 |  | Y | Yes No Unknown
PipingCorrosionProtectionSacrificialAnodes | Piping: sacrifical anode | string | 7 |  | Y | Yes No Unknown
PipingCorrosionProtectionAnodesInstalledOrRetrofitted | If yes, installed/retrofitted with anodes | string | 11 | Conditional | Y | Installed Retrofitted Unknown | Required if PipingCorrosionProtectionSacrificialAnodes = 'Yes'
PipingCorrosionProtectionImpressedCurrent | Piping: impressed current | string | 40 |  | Y
PipingCorrosionProtectionImpressedCurrentInstalledOrRetrofitted | If yes, installed/retrofitted with impressed current | string | 11 | Conditional | Y | Installed Retrofitted Unknown | Required if PipingCorrosionProtectionImpressedCurrentInstalledOrRetrofitted = 'Yes'
PipingCorrosionProtectionCathodicNotRequired | Piping: cathodic protection not required | string | 7 |  | Y | Yes No Unknown
PipingCorrosionProtectionExternalCoating | Piping: external coating | string | 7 |  | Y | Yes No Unknown
AutomaticShutoffDevice | Tank overfill protection: automatic shutoff device | string | 7 |  | Y | Yes No Unknown
OverfillAlarm | Tank overfill protection: overfill alarm | string | 7 |  | Y | Yes No Unknown
BallFloatValve | Tank overfill protection: ball float valve | string | 7 |  | Y | Yes No Unknown
OverfillProtectionMeans | Tank overfill protection: what is the primary means of overfill protection (must be inspected every 3 years) | string | 24 |  | Y | Automatic Shutoff Device Overfill Alarm Ball Float Valve
SpillBucketInstalled | Is spill bucket installed | string | 7 |  | Y | Yes No Unknown
SpillBucketWallType | Spill bucket wall type | string | 7 |  | Y | Single Double Unknown
DrainPresent | Is spill bucket drain present | string | 7 |  | Y | Yes No Unknown
PumpPresent | Spill bucket pump present | string | 7 |  | Y | Yes No Unknown
InterstitialMonitoringContinualElectric | Tank release detection: interstitial monitoring (continuous or electronic) | string | 7 |  | Y | Yes No Unknown
InterstitialMonitoringManual | Tank release detection: interstitial monitoring (manual) | string | 7 |  | Y | Yes No Unknown
AutomaticTankGauging | Tank release detection: automatic tank gauging | string | 7 |  | Y | Yes No Unknown
AutomaticTankGaugingReleaseDetection | Is ATG used for release detection | string | 7 | Conditional | Y | Yes No Unknown | Required if AutomaticTankGauging = 'Yes'
AutomaticTankGaugingContinuousLeakDetection | Is ATG used for continuous in-tank leak detection? | string | 7 | Conditional | Y | Yes No Unknown | Required if AutomaticTankGauging = 'Yes'
ManualTankGauging | Tank release detection: manual tank gauging | string | 7 |  | Y | Yes No Unknown
StatisticalInventoryReconciliation | Tank release detection: statistical inventory recon | string | 7 |  | Y | Yes No Unknown
TankTightnessTesting | Tank release detection: tank tightness testing with inventory control | string | 7 |  | Y | Yes No Unknown
GroundwaterMonitoring | Tank release detection: groundwater monitoring | string | 7 |  | Y | Yes No Unknown
VaporMonitoring | Tank release detection: vapor monitoring | string | 7 |  | Y | Yes No Unknown
ElectronicLineLeakDetector | Piping release detection: electronic line leak detector (not applicable for suction piping regardless of safe suction or not) | string | 7 |  | Y | Yes No Unknown
MechanicalLineLeakDetector | Piping release detection: Mechanical Line Leak Detector (NA for suction piping regardless of safe suction or not) | string | 7 |  | Y | Yes No Unknown
AutomatedIntersticialMonitoring | Piping release detection: Automated Intersticial Monitoring | string | 7 |  | Y | Yes No Unknown
SafeSuction | Piping release detection: Safe Suction (European) | string | 7 |  | Y | Yes No Unknown
AmericanSafeSuction | Piping release detection: American/non-safe suction (Requires leak detection) | string | 7 |  | Y | Yes No Unknown
HighPressure | Is this a high pressure or hydrant system | string | 7 |  | Y | Yes No Unknown
PrimaryReleaseDetectionType | Piping release detection: Primary Release Detection Type for Suction | string | 23 |  | Y | Line Test Interstitial Monitoring SIR GW Monitoring Vapor Monitoring Unknown
SecondReleaseDetectionType | Piping release detection: Secondary Release Detection Type for Suction | string | 23 |  | Y | Line Test Interstitial Monitoring SIR GW Monitoring Vapor Monitoring Unknown
USTReportedRelease | Has this UST system had a reported release? | string | 7 |  | Y | Yes No Unknown
AssociatedLUSTID | The leak or release ID associated with the most recent reported release | string | 40 | Conditional |  |  | Required if USTReportedRelease = 'Yes'
LastInspectionDate | Last inspection date | date
DataCurrentDate | Data current date | date

## Facility Types
Retail Fuel Sales
Wholesale
Agricultural/Farm
Bulk Plant Storage/Petroleum Distributor
Industrial
Utility
School
Residential
Commercial
Other
Unknown
Aviation/Airport
Auto Dealership/Auto Maintenance & Repair
Hospital
Rental Car
Trucking/Transport/Fleet Operation
Contractor
Railroad
Telecommunication facility

## States
AK
AL
AR
AS
AT
AZ
CA
CO
CT
DC
DE
FL
FM
GA
GB
GE
GM
GU
HI
IA
ID
IL
IN
JA
KS
KY
LA
MA
MD
ME
MH
MI
MN
MO
MP
MS
MT
MW
NC
ND
NE
NH
NI
NJ
NM
NN
NV
NY
OH
OK
OR
PA
PR
PW
RI
SC
SD
TN
TT
TX
UM
UT
VA
VI
VT
WA
WI
WV
WY

## Substances
Gasoline (non-ethanol)
Gasoline E-10 (E1-E10)
Gasoline E-15 (E-11-E15)
Gasoline/ethanol blends E16-E50
E-85/Flex Fuel (E51-E83)
Ethanol blend gasoline (e-unknown)
Gasoline (unknown type)
Gasoline/ethanol blend containing more than 83% and less than 98% ethanol
Denatured ethanol (98%)
Racing fuel/leaded gasoline
Diesel fuel (know to contain 0% biodiesel)
Diesel fuel (ASTM D975), can contain 0-5% biodiesel
Diesel blends containing greater than 5% and up to 20% or less biodiesel
Diesel blend containing greater than 20% and less than 99% biodiesel
100% biodiesel (not federally regulated)
Diesel blend containing 99% to less than 100% biodiesel
Diesel fuel (b-unknown)
95% renewable diesel, 5% biodiesel
99.9 percent renewable diesel, 0.01% biodiesel
Other unlisted blend containing any other mixture of diesel, renewable diesel, or 20% biodiesel or less
Other unlisted blend containing any other mixture of diesel, renewable diesel, or more than 20% biodiesel
80% renewable diesel, 20% biodiesel
ASTM D975 diesel (known 100% renewable diesel)
Diesel exhaust fluid (DEF, not federally regulated)
Off-road diesel/dyed diesel
Sustainable aviation fuel/aviation fuel blend
Aviation gasoline
Aviation biofuel
Jet fuel A
Jet fuel B
Biojet (diesel)
Unknown aviation gas or jet fuel
Marine fuel
Heating/fuel oil # unknown
Heating oil/fuel oil 1
Heating oil/fuel oil 2
Heating oil/fuel oil 3
Heating oil/fuel oil 4
Heating oil/fuel oil 5
Biofuel/bioheat
Kerosene
Used oil/waste oil
Lube/motor oil (new)
Hazardous substance
Solvent
Antifreeze
Unknown
Other

## Template
FacilityID | FacilityName | OwnerType | FacilityType1 | FacilityType2 | FacilityAddress1 | FacilityAddress2 | FacilityZipCode | FacilityCounty | FacilityPhoneNumber | FacilityState | FacilityEPARegion | FacilityTribalSite | FacilityTribe | FacilityLatitude | FacilityLongitude | FacilityCoordinateSource | FacilityOwnerLastName | FacilityOwnerFirstName | FacilityOwnerAddress1 | FacilityOwnerAddress2 | FacilityOwnerCity | FacilityOwnerCounty | FacilityOwnerZipCode | FacilityOwnerState | FacilityOwnerPhoneNumber | FacilityOwnerEmail | FacilityOperatorLastName | FacilityOperatorFirstName | FacilityOperatorAddress1 | FacilityOperatorAddress2 | FacilityOperatorCity | FacilityOperatorCounty | FacilityOperatorZipCode | FacilityOperatorState | FacilityOperatorPhoneNumber | FacilityOperatorEmail | FinancialResponsibilityBondRatingTest | FinancialResponsibilityCommercialInsurance | FinancialResponsibilityGuarantee | FinancialResponsibilityLetterOfCredit | FinancialResponsibilityLocalGovernmentFinancialTest | FinancialResponsibilityRiskRetentionGroup | FinancialResponsibilitySelfInsuranceFinancialTest | FinancialResponsibilityStateFund | FinancialResponsibilitySuretyBond | FinancialResponsibilityTrustFund | FinancialResponsibilityOtherMethod | FinancialResponsibilityNotRequired | TankID | FederallyRegulated | CompartmentID | TankStatus | ManifoldedTanks | MultipleTanks | ClosureDate | InstallationDate | CompartmentalizedUST | NumberofCompartments | TankSubstanceStored | CompartmentSubstanceStored | TankCapacityGallons | Compartment1CapacityGallons | ExcavationLiner | TankWallType | MaterialDescription | TankRepaired | TankRepairDate | PipingMaterialDescription | PipingFlexConnector | PipingStyle | PipingWallType | PipingUDCForEveryDispenser | PipingRepaired | PipingRepairDate | TankCorrosionProtectionSacrificialAnode | TankCorrosionProtectionAnodesInstalledOrRetrofitted | TankCorrosionProtectionImpressedCurrent | TankCorrosionProtectionImpressedCurrentInstalledOrRetrofitted | TankCorrosionProtectionCathodicNotRequired | TankCorrosionProtectionInteriorLining | TankCorrosionProtectionReason | TankCorrosionProtectionLinedPostinstallation | PipingCorrosionProtectionSacrificialAnodes | PipingCorrosionProtectionAnodesInstalledOrRetrofitted | PipingCorrosionProtectionImpressedCurrent | PipingCorrosionProtectionImpressedCurrentInstalledOrRetrofitted | PipingCorrosionProtectionCathodicNotRequired | PipingCorrosionProtectionExternalCoating | AutomaticShutoffDevice | OverfillAlarm | BallFloatValve | OverfillProtectionMeans | SpillBucketInstalled | SpillBucketWallType | DrainPresent | PumpPresent | InterstitialMonitoringContinualElectric | InterstitialMonitoringManual | AutomaticTankGauging | AutomaticTankGaugingReleaseDetection | AutomaticTankGaugingContinuousLeakDetection | ManualTankGauging | StatisticalInventoryReconciliation | TankTightnessTesting | GroundwaterMonitoring | VaporMonitoring | ElectronicLineLeakDetector | MechanicalLineLeakDetector | AutomatedIntersticialMonitoring | SafeSuction | AmericanSafeSuction | HighPressure | PrimaryReleaseDetectionType | SecondReleaseDetectionType | USTReportedRelease | AssociatedLUSTID | LastInspectionDate | DataCurrentDate